## Slide 1: Proteomics David Fenyö

## Slide 2
Central Dogma of Molecular Biology
Replication
Translation
Transcription
P
Modification

## Slide 3
Central Dogma of Molecular Biology
Replication
Translation
Transcription
P
Modification
Functional
Gene
Products

## Slide 4
Central Dogma of Molecular Biology
Replication
Translation
Transcription
P
Modification
Difficult to
measure
Easy to
measure

## Slide 5
Central Dogma of Molecular Biology
Translation
Transcription
P
Modification

## Slide 6
Central Dogma of Molecular Biology
Translation
Transcription
P
Modification
Breast
Cancer
DNA
RNA

## Slide 7
Central Dogma of Molecular Biology
Translation
Transcription
P
Modification
Breast
Cancer
DNA
RNA

## Slide 8
Central Dogma of Molecular Biology
Translation
Transcription
P
Modification
Breast
Cancer
DNA
RNA

## Slide 9
Breast
Cancer
Central Dogma of Molecular Biology
Translation
Transcription
P
Modification
Ovarian
Cancer
DNA
RNA
DNA
RNA

## Slide 10
Protein Identification and Quantitation
by Mass Spectrometry
Mass
Spectrometry
m/z
intensity
Identity
Quantity
Samples
Peptides

## Slide 11
Overview of Mass spectrometry
Ion Source
Mass Analyzer
Detector
mass/charge
intensity

## Slide 12
Matrix Assisted Laser Desorption Ionization (MALDI)
alpha-cyano-4-hydroxycinnamic acid
Matrix
Laser
Mass Analyzer
Detector

## Slide 13
Time-of-Flight Mass Spectrometry
Ion Source
Mass Analyzer
Detector
Time-of-Flight
Detector

## Slide 14
Clinical MALDI-TOF platforms for bacterial identification (not FDA approved)
VITEK MS Bruker BioTyper

## Slide 15
Sample preparation for bacterial identification

## Slide 16
Raw Spectrum
Denoising
Baseline correction
Peakfinding
Data collection and processing is automatic

## Slide 17
Bacterial identification results
Scores are based on:
The mass of main peaks, and how well this matches a reference
Presence of peaks that do not match reference spectra
(Everything is automatic)

## Slide 18
Mass spectrometry
Lysis
Fractionation
Sample preparation for protein identification,
characterization and quantitation
Digestion

## Slide 19
Electrospray
Mass Analyzer
Detector

## Slide 20
Peptide Fragmentation
Mass Analyzer 1
Frag-mentation
Detector
Ion Source
Mass Analyzer 2
b
y

## Slide 21
m/z
% Relative Abundance
100
0
250
500
750
1000
K
L
E
D
E
E
L
F
G
S
Interpretation of Mass Spectra

## Slide 22
K
1166
L
1020
E
907
D
778
E
663
E
534
L
405
F
292
G
145
S
88
b ions
m/z
% Relative Abundance
100
0
250
500
750
1000
K
L
E
D
E
E
L
F
G
S
Interpretation of Mass Spectra

## Slide 23
147
K
1166
L
260
1020
E
389
907
D
504
778
E
633
663
E
762
534
L
875
405
F
1022
292
G
1080
145
S
1166
88
y ions
b ions
m/z
% Relative Abundance
100
0
250
500
750
1000
K
L
E
D
E
E
L
F
G
S
Interpretation of Mass Spectra

## Slide 24
147
K
1166
L
260
1020
E
389
907
D
504
778
E
633
663
E
762
534
L
875
405
F
1022
292
G
1080
145
S
1166
88
y ions
b ions
m/z
% Relative Abundance
100
0
250
500
750
1000
[M+2H]2+
762
260
389
504
633
875
292
405
534
907
1020
663
778
1080
1022
K
L
E
D
E
E
L
F
G
S
Interpretation of Mass Spectra

## Slide 25
147
K
1166
L
260
1020
E
389
907
D
504
778
E
633
663
E
762
534
L
875
405
F
1022
292
G
1080
145
S
1166
88
y ions
b ions
m/z
% Relative Abundance
100
0
250
500
750
1000
[M+2H]2+
762
260
389
504
633
875
292
405
534
907
1020
663
778
1080
1022
K
L
E
D
E
E
L
F
G
S
Interpretation of Mass Spectra

## Slide 26
147
K
1166
L
260
1020
E
389
907
D
504
778
E
633
663
E
762
534
L
875
405
F
1022
292
G
1080
145
S
1166
88
y ions
b ions
m/z
% Relative Abundance
100
0
250
500
750
1000
[M+2H]2+
762
260
389
504
633
875
292
405
534
907
1020
663
778
1080
1022
113
K
L
E
D
E
E
L
F
G
S
113
Interpretation of Mass Spectra

## Slide 27
147
K
1166
L
260
1020
E
389
907
D
504
778
E
633
663
E
762
534
L
875
405
F
1022
292
G
1080
145
S
1166
88
y ions
b ions
m/z
% Relative Abundance
100
0
250
500
750
1000
[M+2H]2+
762
260
389
504
633
875
292
405
534
907
1020
663
778
1080
1022
129
129
K
L
E
D
E
E
L
F
G
S
Interpretation of Mass Spectra

## Slide 28
Liquid Chromatography (LC)-MS/MS
Mass Analyzer 1
Frag-mentation
Detector
intensity
mass/charge
Ion Source
Mass Analyzer 2
LC
intensity
mass/charge
intensity
mass/charge
intensity
mass/charge
intensity
mass/charge
intensity
mass/charge
Time
intensity
mass/charge
intensity
mass/charge
intensity
mass/charge
intensity
mass/charge
intensity
mass/charge
intensity
mass/charge
intensity
mass/charge
intensity
mass/charge
intensity
mass/charge

## Slide 29
Fragment intensity vs m/z
Example data – ESI-LC-MS/MS
Time
m/z
m/z
% Relative Abundance
100
0
250
500
750
1000
[M+2H]2+
762
260
389
504
633
875
292
405
534
907
1020
663
778
1080
1022
MS/MS
Peptide intensity vs m/z vs time

## Slide 30
Example Mass Spectrometry Data
Peptide intensity vs time
For 737.707 m/z which corresponds to 3+ of LGEHNIDVLEGNEQFINAAK

## Slide 31
Example Mass Spectrometry Data
Fragment intensity vs m/z
For 3+ of LGEHNIDVLEGNEQFINAAK

## Slide 32
Example Mass Spectrometry Data
Peptide intensity vs m/z
3+ of LGEHNIDVLEGNEQFINAAK

## Slide 33
Example Mass Spectrometry Data
Peptide intensity vs m/z
3+ of LGEHNIDVLEGNEQFINAAK

## Slide 34
Example Mass Spectrometry Data
Peptide intensity vs m/z
Peptide intensity vs time

## Slide 35
Protein Identification
by Mass Spectrometry
Mass
Spectrometry
m/z
intensity
Identity
Samples
Peptides

## Slide 36
MS/MS
Lysis
Fractionation
Tandem MS – Database Search
MS/MS
Digestion
Sequence
DB
All Fragment
Masses
Pick Protein
Compare, Score, Test Significance
Repeat for all proteins
Pick Peptide
LC-MS
Repeat for
all peptides

## Slide 37
S. cerevisiae
Human
Information Content in a Single Mass Measurement
Tryptic peptide mass [Da]
1000 2000 3000
Tryptic peptide mass [Da]
1000 2000 3000
Avg. #of matching peptides
#of matching peptides
1 2 3 4 6 8 10
10
8
6
4
3
2
1
Avg. #of matching peptides
10
8
6
4
3
2
1
#of matching peptides
1 2 3 4 6 8 10

## Slide 38
Protein Identification and Quantitation
by Mass Spectrometry
Mass
Spectrometry
m/z
intensity
Quantity
Samples
Peptides

## Slide 39
Fractionation
Digestion
LC-MS
Lysis
MS
Sample i
Protein j
Peptide k
Protein Quantitation by Mass Spectrometry

## Slide 40
Fractionation
Digestion
LC-MS
Lysis
Quantitation – Label-Free (MS)
MS
MS
Assumption:
constant for all samples
Sample i
Protein j
Peptide k

## Slide 41
H
L
Quantitation – Metabolic Labeling
Fractionation
Digestion
LC-MS
Light
Heavy
Lysis
MS
Oda et al. PNAS 96 (1999) 6591
Ong et al. MCP 1 (2002) 376
Sample i
Protein j
Peptide k

## Slide 42
Target Assays
H
L
Fractionation
Digestion
LC-MS
Light
Lysis
Synthetic
Peptides
(Heavy)
MS
Enrichment with
Peptide antibody
Anderson, N.L., et al.
Proteomics 3 (2004) 235-44

## Slide 43
A Mass Spectrometry Based Clinical Assay

## Slide 44
https://www.nytimes.com/interactive/2018/11/15/magazine/tech-design-proteomics.html